## Introduction
EGTEI: Expert group on techno-economic issues
At its 47th Session, the Working Group on Strategies and Review (WGSR) of the UNECE Convention on Long-Range Transboundary Air Pollution (CLRTAP) decided a draft 2011 work plan for the implementation of the Convention. Under “1.7 Techno-Economic Issues” item g) this work plan mandated the Expert Group on Techno-Economic Issues (EGTEI) to: Continue to update its methodology for LCPs.
The background document available on the EGTEI web site describes the work carried out in 2005, to estimate costs of reduction techniques of SO2, NOx and TSP of large combustion plants > 500 MWth.
The methodology to estimate costs of reduction techniques for large combustion plants has been developed by EGTEI in 2003-2005. There is a need not only to update the costs which are quite old now but also different parameters such as the efficiency of techniques considered and extend the number of reduction techniques considered. Only solid fossil fuels, liquid fossil fuels and natural gas were considered in 2005. There is a need to examine how to include biomass such as wood or other solid biomass fuels, by considering its cocombustion with coals. Only plants above 500 MWth were considered in 2005. The aim of the present update is to consider also plants between 50 and 500 MWth. The results of the work will also be delivered for the revision of the BREF Document.
The kick off meeting of the sub group EGTEI for the update of costs for LCP was held on 11 October 2011. During the second meeting of the subgroup, on 31 January 2012, it was decided to collect information on the most recent investments as well as characteristics of some operating parameters and prices of utilities from country to country.
Combustion plant and combustion unit definitions are those used in the EIPPCB questionnaire (A graphic extracted from the European IPPC Bureau questionnaire "QUESTIONNAIRE FOR COLLECTING PLANT-SPECIFIC DATA FOR THE REVIEW OF THE BAT REFERENCE DOCUMENT (BREF) ON LARGE COMBUSTION PLANTS (LCP)" presented in the sheet "for memory", is given for a better understanding the limits of the combustion plant and the combustion unit compared to a combustion installation). Solid fossil fuels (hard coal, brown coal), heavy fuel oil (HF), medium distillate oil (MD), natural gas (NG) and solid biomass are covered by the work. Boilers and combustion turbines are considered. Engines will be considered in a next step, as well as other types of fuels such as coke oven or blast furnace gases.
The aim of this questionnaire is to collect recent investments for both new and existing plants (the best would be to obtain costs for equipment not holder than 12 years (2000)). The priority is the collection of investments but parameters of operating costs are also expected if available.
Only boilers and combustion turbines are covered by the survey. Solid fuels (hard coal, brown coal), liquid fuels (heavy fuel oil and medium distillate oil), natural gas and solid biomass (wood) are covered. Combustion plants may be more than 50 MWth.
The questionnaire has been developed in order to be as simple as possible. However do not hesitate to provide additional information for the good understanding of figures you could provide, by the EGTEI secretariat. We would like to be able to characterise the combustion plant (its rated thermal power, fuel used, SO2, NOx and TSP concentrations to be treated...) linked to the Waste Gas Treatment plant (WGT). Investments and operating parameters provided have to be linked to some technical criteria of the plant, in order to be used in the EGTEI work.
Please submit the information that you have available and/or that you are able to collect easily. Partial information is also useful. Please do not hesitate to submit any extra information that you find relevant together with this questionnaire.
Company name:
Name:
Job Title:
E-mail:
Tel.:
Comments:
Techniques covered by the EGTEI survey are as follows :
DeSOx | Wet FGD : limestone forced oxidation
Wet FGD : limestone natural oxidation
FGD by furnace sorbent injection
FGD by dry duct sorbent injection
FGD by using spray dry scrubber
Low sulphur fuels
DeNOx | Low NOx burner first generation (600 - 800 mg/Nm3)
Boiler | Low NOx burner second generation (400 - 600 mg/Nm3)
Low NOx burner third generation (300 - 400 mg/Nm3)
Flue gas recirculation
Selective Non-Catalytic Reduction
Selective Catalytic Reduction
Dust | Electrostatic Precipitators ESP
Fabric Filters (FF)
DeNOx | DLN
Turbine | Water injection
Steam injection

## Layout
Could you please detail the layout of the combustion units linked to the waste gas treatment section (WGT).
What is the chain of add-on reduction techniques installed? Please specify with as much details as possible to enable to understand easily.
If there is for example, a chain of equipment (like the following one: SCR, Deduster and FGD), please describe and provide the number of combustion units linked to the WGT.
If the layout is more complex (several combustion units, each of them with its own SCR and deduster as example but all flue gases ducted to a unique FGD at the end), please describe with as much details as possible for a good understanding.

## Char. combustion units & fuels
Combustion system characteristics
Please complete the characteristics of each combustion unit linked to the waste gas treatment plant | [6 empty] | Characteristics and consumption of fuels used, for the year operating cost parameters are provided
Please indicate types and consumption of fuels used in the combustion units linked to the WGT. Please also indicate some of their characteristics and their annual consumption for the year operating costs are provided.
Combustion Unit 1 | [6 empty] | Combustion Unit 1
|  |  |  | Operational data for the year information on operating costs are provided - real conditions |  | Nominal load factor | Fuel 1
Total rated thermal input |  |  | MWth |  |  |  | Fuel 2
Gross electric power production |  |  | MWel | [6 empty] | if other please specify
Operating hours |  |  | hours/year |  |  |  | Major Fuel participation
[8 empty] | fuel 1 | % (GJ)
[8 empty] | fuel 2 | % (GJ)
Choose the type of the combustion unit
| Boiler | [5 empty] | Solid fossil fuels |  |  | Solid Fossil Fuel |  |  | if other please specify
Gas turbine
Boiler | [11 empty] | Average value |  |  | GJ/year
| Boiler type | [6 empty] | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Solid fuels | Pulverised solid fuel firing | [5 empty] | Ash content |  |  | wt-%
| Biomass |  | Dry bottom boiler |  |  |  |  | Sulphur content |  |  | wt-%
|  |  | Wet bottom boiler |  |  |  |  | Nitrogen content |  |  | wt-%
|  | Fluidised bed combustion | [5 empty] | Please provide any useful information for understanding if necessary
Bubbling
Circulating (atmospheric)
|  |  | Circulating (pressurised) |  |  |  | Liquid fossil fuels |  | Liquid Fossil Fuel |  |  |  |  | if other please specify
Grate / Stoke
| Liquid fuels | Liquid fuel-fired boiler | [9 empty] | Average value |  |  | GJ/year
| Gaseous Fuels | Gas fuel-fired boiler | [5 empty] | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Other types | (please specify) | [5 empty] | Ash content |  |  | wt-%
[8 empty] | Sulphur content |  |  | wt-%
In case of a presence of a unique chain of abatement equipments for all combustion units please complete | [7 empty] | Nitrogen content |  |  | wt-%
at line 200. On contrary, please complete the following lines and specify the abatement | [7 empty] | Please provide any useful information for understanding if necessary
equipment concerned.
Please specify the abatement equipment
| Average flue gas flow rate at inlet of the WGT, real conditions |  |  |  | m³/h . |  | Gaseous fossil fuels |  | Gaseous Fossil Fuel |  | Natural gas
| Moisture content of flue gas at WGT inlet |  |  |  | % H2O
| O2 content of flue gas at WGT inlet |  |  |  | % O2 | [6 empty] | Average value |  |  | GJ/year
| temperature |  |  |  | K |  |  | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Average flue gas flow rate at inlet of the WGT, real conditions |  |  |  | Nm³/h, dry, O2 ref
[7 empty] | Solid biomass fuels |  |  |  | Major Fuel | Additional Fuel
(if applicable)
[9 empty] | Solid Biomass Fuel |  |  |  | if other please specify
[11 empty] | Average Data | Average Data |  | Consumption | GJ/year
[8 empty] | Lower heating value |  | (MJ/kg) |  |  |  | Major Fuel
[8 empty] | Moisture |  | wt-% |  |  |  | Additional Fuel
[8 empty] | Ash content |  | wt-%
[8 empty] | Nitrogen content |  | wt-%
[8 empty] | Sulphur |  | wt-%
The data informed in the sheet refers to Combustion Unit 2 | [6 empty] | The data informed in the sheet refers to Combustion Unit 2
|  |  |  | Operational data for the year information on operating costs are provided - real conditions |  | Nominal load factor | Fuel 1
Total rated thermal input |  |  | MWth |  |  |  | Fuel 2
Gross electric power production |  |  | MWel | [6 empty] | if other please specify
Operating hours |  |  | hours/year |  |  |  | Major Fuel participation
[8 empty] | fuel 1 | % (GJ)
[8 empty] | fuel 2 | % (GJ)
Choose the type of the combustion unit
| Boiler | [5 empty] | Solid fossil fuels |  | Solid Fossil Fuel |  |  |  | if other please specify
Gas turbine
Boiler | [11 empty] | Average value |  |  | GJ/year
| Boiler type | [6 empty] | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Solid fuels | Pulverised solid fuel firing | [5 empty] | Ash content |  |  | wt-%
| Biomass |  | Dry bottom boiler |  |  |  |  | Sulphur content |  |  | wt-%
|  |  | Wet bottom boiler |  |  |  |  | Nitrogen content |  |  | wt-%
|  | Fluidised bed combustion | [5 empty] | Please provide any useful information for understanding if necessary
Bubbling
Circulating (atmospheric)
|  |  | Circulating (pressurised) |  |  |  | Liquid fossil fuels |  | Liquid Fossil Fuel |  |  |  |  | if other please specify
Grate / Stoke
| Liquid fuels | Liquid fuel-fired boiler | [9 empty] | Average value |  |  | GJ/year
| Gaseous Fuels | Gas fuel-fired boiler | [5 empty] | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Other types | (please specify) | [5 empty] | Ash content |  |  | wt-%
[8 empty] | Sulphur content |  |  | wt-%
In case of a presence of a unique chain of abatement equipments for all combustion units please complete | [7 empty] | Nitrogen content |  |  | wt-%
at line 200. On contrary, please complete the following lines and specify the abatement | [7 empty] | Please provide any useful information for understanding if necessary
equipment concerned.
Please specify the abatement equipment
| Average flue gas flow rate at inlet of the WGT, real conditions |  |  |  | m³/h . |  | Gaseous fossil fuels |  | Gaseous Fossil Fuel |  | Natural gas
| Moisture content of flue gas at WGT inlet |  |  |  | % H2O
| O2 content of flue gas at WGT inlet |  |  |  | % O2 | [6 empty] | Average value |  |  | GJ/year
| temperature |  |  |  | K |  |  | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Average flue gas flow rate at inlet of the WGT, real conditions |  |  |  | Nm³/h, dry, O2 ref
[7 empty] | Solid biomass fuels |  |  |  | Major Fuel | Additional Fuel
(if applicable)
[9 empty] | Solid Biomass Fuel |  |  |  | if other please specify
[11 empty] | Average Data | Average Data |  | Consumption | GJ/year
[8 empty] | Lower heating value |  | (MJ/kg) |  |  |  | Major Fuel
[8 empty] | Moisture |  | wt-% |  |  |  | Additional Fuel
[8 empty] | Ash content |  | wt-%
[8 empty] | Nitrogen content |  | wt-%
[8 empty] | Sulphur |  | wt-%
The data informed in the sheet refers to Combustion Unit 3 | [6 empty] | The data informed in the sheet refers to Combustion Unit 3
|  |  |  | Operational data for the year information on operating costs are provided - real conditions |  | Nominal load factor | Fuel 1
Total rated thermal input |  |  | MWth |  |  |  | Fuel 2
Gross electric power production |  |  | MWel | [6 empty] | if other please specify
Operating hours |  |  | hours/year |  |  |  | Major Fuel participation
[8 empty] | fuel 1 | % (GJ)
[8 empty] | fuel 2 | % (GJ)
Choose the type of the combustion unit
| Boiler | [5 empty] | Solid fossil fuels |  | Solid Fossil Fuel |  |  |  | if other please specify
Gas turbine
Boiler | [11 empty] | Average value |  |  | GJ/year
| Boiler type | [6 empty] | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Solid fuels | Pulverised solid fuel firing | [5 empty] | Ash content |  |  | wt-%
| Biomass |  | Dry bottom boiler |  |  |  |  | Sulphur content |  |  | wt-%
|  |  | Wet bottom boiler |  |  |  |  | Nitrogen content |  |  | wt-%
|  | Fluidised bed combustion | [5 empty] | Please provide any useful information for understanding if necessary
Bubbling
Circulating (atmospheric)
|  |  | Circulating (pressurised) |  |  |  | Liquid fossil fuels |  | Liquid Fossil Fuel |  |  |  |  | if other please specify
Grate / Stoke
| Liquid fuels | Liquid fuel-fired boiler | [9 empty] | Average value |  |  | GJ/year
| Gaseous Fuels | Gas fuel-fired boiler | [5 empty] | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Other types | (please specify) | [5 empty] | Ash content |  |  | wt-%
[8 empty] | Sulphur content |  |  | wt-%
In case of a presence of a unique chain of abatement equipments for all combustion units please complete | [7 empty] | Nitrogen content |  |  | wt-%
at line 200. On contrary, please complete the following lines and specify the abatement | [7 empty] | Please provide any useful information for understanding if necessary
equipment concerned.
Please specify the abatement equipment
| Average flue gas flow rate at inlet of the WGT, real conditions |  |  |  | m³/h . |  | Gaseous fossil fuels |  | Gaseous Fossil Fuel |  | Natural gas
| Moisture content of flue gas at WGT inlet |  |  |  | % H2O
| O2 content of flue gas at WGT inlet |  |  |  | % O2 | [6 empty] | Average value |  |  | GJ/year
| temperature |  |  |  | K |  |  | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Average flue gas flow rate at inlet of the WGT, real conditions |  |  |  | Nm³/h, dry, O2 ref
[7 empty] | Solid biomass fuels |  |  |  | Major Fuel | Additional Fuel
(if applicable)
[9 empty] | Solid Biomass Fuel |  |  |  | if other please specify
[11 empty] | Average Data | Average Data |  | Consumption | GJ/year
[8 empty] | Lower heating value |  | (MJ/kg) |  |  |  | Major Fuel
[8 empty] | Moisture |  | wt-% |  |  |  | Additional Fuel
[8 empty] | Ash content |  | wt-%
[8 empty] | Nitrogen content |  | wt-%
[8 empty] | Sulphur |  | wt-%
The data informed in the sheet refers to Combustion Unit 4 | [6 empty] | The data informed in the sheet refers to Combustion Unit 4
|  |  |  | Operational data for the year information on operating costs are provided - real conditions |  | Nominal load factor | Fuel 1
Total rated thermal input |  |  | MWth |  |  |  | Fuel 2
Gross electric power production |  |  | MWel | [6 empty] | if other please specify
Operating hours |  |  | hours/year |  |  |  | Major Fuel participation
[8 empty] | fuel 1 | % (GJ)
[8 empty] | fuel 2 | % (GJ)
Choose the type of the combustion unit
| Boiler | [5 empty] | Solid fossil fuels |  | Solid Fossil Fuel |  |  |  | if other please specify
Gas turbine
Boiler | [11 empty] | Average value |  |  | GJ/year
| Boiler type | [6 empty] | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Solid fuels | Pulverised solid fuel firing | [5 empty] | Ash content |  |  | wt-%
| Biomass |  | Dry bottom boiler |  |  |  |  | Sulphur content |  |  | wt-%
|  |  | Wet bottom boiler |  |  |  |  | Nitrogen content |  |  | wt-%
|  | Fluidised bed combustion | [5 empty] | Please provide any useful information for understanding if necessary
Bubbling
Circulating (atmospheric)
|  |  | Circulating (pressurised) |  |  |  | Liquid fossil fuels |  | Liquid Fossil Fuel |  |  |  |  | if other please specify
Grate / Stoke
| Liquid fuels | Liquid fuel-fired boiler | [9 empty] | Average value |  |  | GJ/year
| Gaseous Fuels | Gas fuel-fired boiler | [5 empty] | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Other types | (please specify) | [5 empty] | Ash content |  |  | wt-%
[8 empty] | Sulphur content |  |  | wt-%
In case of a presence of a unique chain of abatement equipments for all combustion units please complete | [7 empty] | Nitrogen content |  |  | wt-%
at line 200. On contrary, please complete the following lines and specify the abatement | [7 empty] | Please provide any useful information for understanding if necessary
equipment concerned.
Please specify the abatement equipment
| Average flue gas flow rate at inlet of the WGT, real conditions |  |  |  | m³/h . |  | Gaseous fossil fuels |  | Gaseous Fossil Fuel |  | Natural gas
| Moisture content of flue gas at WGT inlet |  |  |  | % H2O
| O2 content of flue gas at WGT inlet |  |  |  | % O2 | [6 empty] | Average value |  |  | GJ/year
| temperature |  |  |  | K |  |  | Lower heating value |  |  | (MJ/kg) |  |  | Consumption
| Average flue gas flow rate at inlet of the WGT, real conditions |  |  |  | Nm³/h, dry, O2 ref
[7 empty] | Solid biomass fuels |  |  |  | Major Fuel | Additional Fuel
(if applicable)
[9 empty] | Solid Biomass Fuel |  |  |  | if other please specify
[11 empty] | Average Data | Average Data |  | Consumption | GJ/year
[8 empty] | Lower heating value |  | (MJ/kg) |  |  |  | Major Fuel
[8 empty] | Moisture |  | wt-% |  |  |  | Additional Fuel
[8 empty] | Ash content |  | wt-%
[8 empty] | Nitrogen content |  | wt-%
[8 empty] | Sulphur |  | wt-%
If all combustion units are directly linked to a unique WGT, please specify the waste gas flow rate
here after.
| Average flue gas flow rate at inlet of the WGT, real conditions |  |  |  | m³/h .
| Moisture content of flue gas at WGT inlet |  |  |  | % H2O
| O2 content of flue gas at WGT inlet |  |  |  | % O2
| temperature |  |  |  | K
| Average flue gas flow rate at inlet of the WGT, real conditions |  |  |  | Nm³/h, dry, O2 ref
HC : hard coal |  | HC : hard coal |  | HF : heavy fuel oil |  | Y
BC : brown coal |  | BC : brown coal |  | MD : medium distillate oil |  | N
HF : heavy fuel oil |  | other, please specify |  | other, please specify
MD : medium distillate oil
GAS : natural gas
wood
straw
other, please specify

## NOx
List of parameters needed for investment and operating cost calculation
Selective Catalytic Reduction
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Type of SCR | High Dust / Low Dust / Tail End |  | Please specify.
Type of NOx reducing agent | aq. NH3, anhydr. NH3, urea, others |  | Please specify. If you use aqueous NH3, please specify the concentration level.
Specific SCR equipment cost (excl. catalyst) | €/MWth |  | Alternatively: Total installation and equipment costs. Please refer to MWth boiler capacity.
Installation cost expenditure | % of the equipment cost or €/MWth
Year of Installation | Year
Retrofit to an existing plant? | Yes/No
SCR complexity |  |  | Do you assume this installation to be simple, average or complicated due to site specific issues with regard to costs (if yes, why?).
Specific amount of catalyst used | m³/MWth |  | If it is no standard SCR catalyst, please indicate.
Average SCR NOx abatement efficiency | % |  | For standard operations.
Catalyst lifetime until regeneration | Operating Hours |  | Average / Expected Lifetime for indicated fuel use.
No. of regeneration cycles until catalyst layer replacement | Number
Catalyst regeneration cost | €/m³
Catalyst replacement cost | €/m³
Average stoichiometric ratio used | Reducing Agent / NOx abated |  | Of average / design operating conditions.
Electricity consumption | MWh/yr |  | For Pressure Drop, Injection, Mixing & Storage. Alternatively, pressure drop in mbar.
Labour intensity of SCR operation | man-day/yr |  | If possible to calculate.
Level of the maintenance costs | % / Investment |  | Please specify what do you include.
Primary Low NOx Technology
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Boilers: Low NOx burner generation | 1st / 2nd / 3rd |  | 1st (600 - 800 nm/Nm³), 2nd (400 - 600 mg/Nm³), 3rd (300-400 mg/Nm³)
Average NOx concentration at boiler outlet | mg/Nm³ at reference O2 content |  | Please indicate the reference O2 content as well.
Gas Turbines: Low NOx equipment type |  |  | DLN / Water Injection / Steam Injection
Specific low NOx equipment cost | €/MWth |  | Alternatively: Total installation and equipment costs. Please refer to MWth boiler capacity.
Installation cost expenditure | % or €/MWth
Year of Installation | Year
Retrofit to an existing plant? | Yes/No
Low NOx unit complexity |  |  | Do you assume this installation to be simple, average or complicated due to site specific issues with regard to costs (if yes, why?).
Level of the maintenance costs | % / Investment |  | Please specify what do you include.
Selective Non-Catalytic Reduction
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Specific SNCR equipment cost | €/MWth |  | Alternatively: Total installation and equipment costs. Please refer to MWth boiler capacity.
Installation cost expenditure | % or €/MWth
Year of Installation | Year
Retrofit to an existing plant? | Yes/No
SNCR complexity |  |  | Do you assume this installation to be simple, average or complicated due to site specific issues with regard to costs (if yes, why?).
Average SNCR NOx abatement efficiency | %
Average stoichiometric ratio used | Reducing Agent / NOx abated |  | Of average / design operating conditions. Please indicate whether urea or NH3 is used.
Electricity consumption | MWh/yr |  | For Pressure Drop, Injection, Mixing & Storage. Alternatively, pressure drop in mbar.
Labour Intensity of Operations | man-day/yr |  | If possible to calculate
Level of the maintenance costs | % / Investment |  | Please specify what do you include.
Flue Gas Recirculation
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Specific FGR equipment cost | €/MWth |  | Alternatively: Total installation and equipment costs. Please refer to MWth boiler capacity.
Installation cost expenditure | % or €/MWth
Year of Installation | Year
Retrofit to an existing plant? | Yes/No
FGR complexity |  |  | Do you assume this installation to be simple, average or complicated due to site specific issues with regard to costs (if yes, why?).
Percentage of flue gas recirculated | % of total flue gas
Average FGR NOx abatement efficiency | %
Electricity output losses due to FGR | % of Gross Electrical Output
Level of the maintenance costs | % / Investment |  | Please specify what do you include.

## SO2
List of parameters needed for investment and operating cost calculation
Wet desulphurisation with limestone forced oxidation (LSFO) | All cost to be provided without taxes
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Specific equipment cost | €/MWth |  | Either equipment cost + installation expenditure or total cost (please indicate and see below).
Installation expenditure (items cited at line 14, cell C.) | % of the equipment cost or €/MWth
Year of installation of the LFSO | Year
Retrofit to an existing plant | Yes/No
If possible, specify items included in the specific equipment cost | please select and add items if necessary |  | Please select and add items if necessary
If possible specify items included in the installation expenditure | please select and add items if necessary |  | Please select and add items if necessary
FGD complexity |  |  | Do you assume this installation to be simple, average or complicated due to site specific issues with regard to costs.
Waste gas flow rate to be treated , in real conditions | m3/h |  | Please specify the temperature, the O2 content and humidity
Waste gas flow rate to be treated | Nm3/h (standard conditions, dry and at O2 reference conditions |  | Please specify O2 reference conditions
Inlet SO2 concentrations, if possible | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Outlet SO2 concentrations | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Efficiency of the FGD | %
Limestone consumption
Limestone purity | %
Ratio Ca/S used | ratio Ca/S |  | Please specify the ratio compared to the inlet concentration
Limestone consumption | t reagent/year
t reagent/t SO2 removed
Limestone cost | €/t reagent
Industrial water consumption
Concentration of CaCO3 in water | kg reagent/m3
Consumption of water for the FGD | m3/year
By-product production
What are by-products generated |  |  | Please specify
Quantity of by-products produced | t by-product/year
Price of by-products sold | €/t by-product
By-products for waste disposal | €/t by-product
Proportion sold/total amount of by-products | %
Electricity consumption
Operating power of the fan to overcome the pressure drop (flue gas handling) | MW |  | If possible, specify what has been included under the power provided.
Operating power of other auxiliaries (absorption tower: spray headers, mist eliminator; by-products handling, slurry pumps, oxidation air compression…) | MW |  | If possible, specify what has been included under the power provided.
Average load of these equipments | %
Electricity consumption | MWh/year or MWh/Mio. Nm³ |  | Please specify the unit
Cost of electricity | €/kWh
Labour
Labour intensity of FGD operation | man-day/yr
Labour cost | €/man day
Fixed operating costs
Level of the maintenance costs | % / Investment |  | Please specify what do you include ?
Wet desulphurisation with limestone natural oxidation (LSNO) | All cost to be provided without taxes
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Specific equipment cost | €/MWth |  | Either equipment cost + installation expenditure or total cost (please indicate).
Installation expenditure (items cited at line 65, cell C.) | % of the equipment cost or €/MWth
Year of Installation of the LSNO | Year
Retrofit to an existing plant? | Yes/No
If possible, specify items included in the specific equipment cost | please select and add items if necessary |  | Please select and add items if necessary
If possible specify items included in the installation expenditure | please select and add items if necessary |  | Please select and add items if necessary
FGD complexity |  |  | Do you assume this installation to be simple, average or complicated due to site specific issues with regard to costs.
Waste gas flow rate to be treated , in real conditions | m3/h |  | Please specify the temperature, the O2 content and humidity
Waste gas flow rate to be treated | Nm3/h (standard conditions, dry and at O2 reference conditions |  | Please specify O2 reference conditions
Inlet SO2 concentrations, if possible | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Outlet SO2 concentrations | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Efficiency of the FGD | %
Limestone consumption
Limestone purity | %
Ratio Ca/S used | ratio Ca/S |  | Please specify the ratio compared to the inlet concentration
Limestone consumption | t reagent/year
t reagent/t SO2 removed
Limestone cost | €/t reagent
Industrial water consumption
Concentration of CaCO3 in water | kg reagent/m3
Consumption of water for the FGD | m3/year
By-product production
What are by-products generated |  |  | Please specify
Quantity of by-products produced | t by-product/year
Price of by-products sold | €/t by-product
By-products for waste disposal | €/t by-product
Proportion sold/total amount of by-products | %
Electricity consumption
Operating power of the fan to overcome the pressure drop (flue gas handling) | MW |  | If possible, specify what has been included under the power provided.
Operating power of other auxiliaries (absorption tower: spray headers, mist eliminator; by-products handling, slurry pumps, oxidation air compression…) | MW |  | If possible, specify what has been included under the power provided.
Average load of these equipments | %
Electricity consumption | MWh/year or MWh/Mio. Nm³ |  | Please specify the unit used
Cost of electricity | €/kWh
Labour
Labour intensity of FGD operation | man-day/yr
Labour cost | €/man day
Fixed operating costs
What is the level of the maintenance costs | % / Investment |  | Please specify what do you include ?
FGD by using spray dry sorbent
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Specific equipment cost | €/MWth |  | Either equipment cost + installation expenditure or total cost (please indicate).
Installation expenditure (items cited at line 123, cell C.) | % of the equipment cost or €/MWth
Year of Installation of the system | Year
Retrofit to an existing plant? | Yes/No
If possible, specify items included in the specific equipment cost | please select and add items if necessary |  | Please select and add items if necessary
If possible specify items included in the installation expenditure | please select and add items if necessary |  | Please select and add items if necessary
FGD complexity |  |  | Do you assume this installation to be simple, average or complicated due to site specific issues with regard to costs.
Waste gas flow rate to be treated , in real conditions | m3/h |  | Please specify the temperature, the O2 content and humidity
Waste gas flow rate to be treated | Nm3/h (standard conditions, dry and at O2 reference conditions |  | Please specify O2 reference conditions
Inlet SO2 concentrations, if possible | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Outlet SO2 concentrations | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Efficiency of the FGD | %
Sorbent consumption
Specify the type of sorbent used
if lime (or Ca based sorbent) Ca/S used | ratio Ca/S |  | Please specify the ratio compared to the inlet concentration
Reagent consumption | t reagent/year
t reagent/t SO2 removed
Reagent cost | €/t reagent
Industrial water consumption
Concentration of reagent in water | kg reagent/m3
Consumption of water for the FGD | m3/year
By-product production
What are by-products generated |  |  | Please specify the nature of by-products
Quantity of by-products produced | t by-product/year
Price of by-products sold | €/t by-product
By-products for waste disposal | €/t by-product
Proportion sold/total amount of by-products | %
Electricity consumption
Operating power of the fan to overcome the pressure drop (flue gas handling) | MW |  | If possible, specify what has been included under the power provided.
Operating power of other auxiliaries (absorption tower: spray headers, mist eliminator; by-products handling, slurry pumps…) | MW |  | If possible, specify what has been included under the power provided.
Average load of these equipments | %
Electricity consumption | MWh/year or MWh/Mio. Nm³ |  | Please specify the unit used
Cost of electricity | €/kWh
Labour
Labour intensity of FGD operation | man-day/yr
Labour cost | €/man day
Fixed operating costs
What is the level of the maintenance costs | % / Investment |  | Please specify what do you include ?
FGD by dry duct sorbent injection
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Specific equipment cost | €/MWth |  | Either equipment cost + installation expenditure or total cost (please indicate).
Installation expenditure (items cited at line 177, cell C.) | % of the equipment cost or €/MWth
Year of Installation of the system | Year
Retrofit to an existing plant | Yes/No
If possible, specify items included in the specific equipment cost | please select and add items if necessary |  | Please select and add items if necessary
If possible specify items included in the installation expenditure | please select and add items if necessary |  | Please select and add items if necessary
FGD complexity |  |  | Do you assume this installation to be simple, average or complicated due to site specific issues with regard to costs.
Waste gas flow rate to be treated , in real conditions | m3/h |  | Please specify the temperature, the O2 content and humidity
Waste gas flow rate to be treated | Nm3/h (standard conditions, dry and at O2 reference conditions |  | Please specify O2 reference conditions
Inlet SO2 concentrations, if possible | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Outlet SO2 concentrations | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Efficiency of the FGD | %
Sorbent consumption
Specify the type of sorbent used
if lime (or Ca based sorbent) Ca/S used | ratio Ca/S |  | Please specify the ratio compared to the inlet concentration
Reagent consumption | t reagent/year
t reagent/t SO2 removed
Reagent cost | €/t reagent
By-product production
What are by-products generated |  |  | Please specify
Quantity of by-products produced | t by-product/year
Price of by-products sold | €/t by-product
By-products for waste disposal | €/t by-product
Proportion sold/total amount of by-products | %
Electricity consumption
Operating power of the fan to overcome the pressure drop (flue gas handling) | MW |  | If possible, specify what has been included under the power provided.
Operating power of other auxiliaries (absorption tower: headers, by-products handling…) | MW |  | If possible, specify what has been included under the power provided.
Average load of these equipments | %
Electricity consumption | MWh/year or MWh/Mio. Nm³ |  | Please specify the unit used
Cost of electricity | €/kWh
Labour
Labour intensity of FGD operation | man-day/yr
Labour cost | €/man day
Fixed operating costs
What is the level of the maintenance costs | % / Investment |  | Please specify what do you include ?
FGD by dry furnace sorbent injection
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Specific equipment cost | €/MWth |  | Either equipment cost + installation expenditure or total cost (please indicate).
Installation expenditure (items cited at line 227, cell C.) | % of the equipment cost or €/MWth
Year of Installation of the system | Year
Retrofit to an existing plant? | Yes/No
If possible, specify items included in the specific equipment cost | please select and add items if necessary |  | Please select and add items if necessary
If possible specify items included in the installation expenditure | please select and add items if necessary |  | Please select and add items if necessary
FGD complexity |  |  | Do you assume this installation to be simple, average or complicated due to site specific issues with regard to costs.
Waste gas flow rate to be treated , in real conditions | m3/h |  | Please specify the temperature, the O2 content and humidity
Waste gas flow rate to be treated | Nm3/h (standard conditions, dry and at O2 reference conditions |  | Please specify O2 reference conditions
Inlet SO2 concentrations, if possible | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Outlet SO2 concentrations | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Efficiency of the FGD | %
Sorbent consumption
Specify the type of sorbent used
if lime (or Ca based sorbent) Ca/S used | ratio Ca/S |  | Please specify the ratio compared to the inlet concentration
Reagent consumption | t reagent/year
t reagent/t SO2 removed
Reagent cost | €/t reagent
By-product production
What are by-products generated |  |  | Please specify the nature of by-products
Quantity of by-products produced | t by-product/year
Price of by-products sold | €/t by-product
By-products for waste disposal | €/t by-product
Proportion sold/total amount of by-products | %
Electricity consumption
Operating power of auxiliaries (sorbent handling, by-products handling…) | MW |  | If possible, specify what has been included under the power provided.
Average load of these equipments | %
Electricity consumption | MWh/year or MWh/Mio. Nm³ |  | Please specify the unit used
Cost of electricity | €/kWh
Labour
Labour intensity of FGD operation | man-day/yr
Labour cost | €/man day
Fixed operating costs
What is the level of the maintenance costs | % / Investment |  | Please specify what do you include ?
Pollution control device | Project definition and engineering
Auxiliary equipment | Contractor selection costs
Instrument | Building and civil works
Other (please specify) | Performance testing and civil work
Other (please specify)

## Dust
List of parameters needed for investment and operating cost calculation
ESP | All cost to be provided without taxes
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Specific equipment cost | €/MWth |  | Either equipment cost + installation expenditure or total cost (please indicate).
Installation expenditure (items cited at line 14, cell C.) | % of the equipment cost or €/MWth
Year of Installation of the ESP | Year
Retrofit to an existing plant? | Yes/No
If possible, specify items included in the specific equipment cost | please select and add items if necessary |  | Please select and add items if necessary
If possible specify items included in the installation expenditure | please select and add items if necessary |  | Please select and add items if necessary
Characteristics of waste gases to be treated
Waste gas flow rate to be treated , in real conditions | m3/h |  | Please specify the temperature, the O2 content and humidity
Waste gas flow rate to be treated | Nm3/h (standard conditions, dry and at O2 reference conditions |  | Please specify O2 reference conditions
Dust concentrations
Inlet dust concentrations, if possible | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
outlet dust concentrations | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Efficiency | %
ESP characteristics
Operating temperature | °C
Number of fields | number
Pressure drop | kPa
Are additives for reducing PM resistivity used? |  |  | If yes, please specify the consumption (kg/Year or kg /Moi. Nm3)
By-product production
What are by-products generated |  |  | Please specify
Quantity of by-products produced | t by-product/year
Price of by-products sold | €/t by-product |  | Please, specify the use.
By-products for waste disposal | €/t by-product
Proportion sold/total amount of by-products | %
Electricity consumption
Installed power of the fan to overcome the pressure drop | MW |  | Please specify what is included
Installed power for the ESP operation | MW |  | Please specify what is included
Electricity consumption | MWh/year
cost of electricity | €/kWh
Labour
Labour intensity of ESP operation | man-day/yr
Labour cost | €/man day
Fixed operating costs
What is the level of the maintenance costs | % / Investment |  | Please specify what do you include ?
Fabric filter | All cost to be provided without taxes
Parameter | Unit | Information provided | Comments from the secretariat | Additional information or comments from the responsible of the questionnaire
Specific equipment cost | €/MWth |  | Either equipment cost + installation expenditure or total cost (please indicate).
Installation expenditure (items cited at line 66, cell C.) | % of the equipment cost or €/MWth
Year of Installation of the ESP | Year
Retrofit to an existing plant? | Yes/No
If possible, specify items included in the specific equipment cost | please select and add items if necessary |  | Please select and add items if necessary
If possible specify items included in the installation expenditure | please select and add items if necessary |  | Please select and add items if necessary
Characteristics of waste gases to be treated
Waste gas flow rate to be treated , in real conditions | m3/h |  | Please specify the temperature, the O2 content and humidity
Waste gas flow rate to be treated | Nm3/h (standard conditions, dry and at O2 reference conditions |  | Please specify O2 reference conditions
Dust concentrations
Inlet dust concentrations, if possible | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
outlet dust concentrations | mg/Nm3 in standard conditions, dry and at O2 reference conditions |  | Average daily concentrations over the year
Efficiency | %
FF characteristics
Operating temperature | °C
Nature of fabric | Please specify
Pressure drop | kPa
Cleaning method |  |  | please select
lifetime of bags | hours
By-product production
What are by-products generated |  |  | Please specify
Quantity of by-products produced | t by-product/year
Price of by-products sold | €/t by-product |  | Please, specify the use.
By-products for waste disposal | €/t by-product
Proportion sold/total amount of by-products | %
Electricity consumption
Installed power of the fan to overcome the pressure drop | MW |  | Please specify what is included
Installed power for the FF | MW |  | Please specify what is included
Electricity consumption | MWh/year
cost of electricity | €/kWh
Labour
Labour intensity of FF operation | man-day/yr
Labour cost | €/man day
Fixed operating costs
What is the level of the maintenance costs | % / Investment |  | Please specify what do you include ?
Pollution control device | Project definition and engineering | reverse airflow
Auxiliary equipment | Contractor selection costs | mechanical shaking/deflating
Instrument | Building and civil works | vibration
Other (please specify) | Performance testing and civil work | compressed air pulsing
| Other (please specify) | other techniques please specify

## for memory
Figure 1. General illustration of limits of the combustion plant/installation and industrial installation
(OBS: not updated according to the Layout sheet data)
NB:
Net flue-gas heat: heat content of the flue-gas released at the stack.
Net waste water heat: heat content of the released waste water at a point after which no subsequent energy recovery is performed on-site.
Net by-product heat: heat content of the by-products at a point after which no subsequent energy recovery is performed on-site .
Instructions 11/14
GLOSSARY
This glossary is meant to facilitate the understanding of the information contained in this document. The definitions of terms in this glossary are not legal definitions (even if some of them may coincide with the definitions given in European legislation); they are meant to help the reader understand some key terms in the context of their use in this document.
Industrial installation | Stationary technical unit within which one or more activities listed in Annex I of Directive 2010/75/EU are carried out and any other directly associated activities on the same site which have a technical connection with the activities listed in Annex I and which could have an effect on emissions and pollution.
Combustion installation | Installation related to the combustion process, i.e. combustion plants and their associated auxiliary systems.
Combustion plant | Any technical apparatus in which fuels are oxidised in order to use the heat thus generated. More specifically, in this questionnaire, it is understood that the combustion plant may be composed of several combustion units only if the flue-gases released from the combustion units are not monitored separately and are mixed in one common stack.
Combustion unit | Any boiler/turbine/engine used for generating heat, excluding the following: process furnaces or process heaters, post-combustion plants and flares and incineration plants.
Combustion unit
Gross steam
Gross flue-gas heat
Gross hot water
Gross electric energy
Fuel
Auxiliary systems
Net waste water heat
Cooling system
in
out
By-product heat
Batch/Raw material feed
Product material
Net flue-gas heat
Net hot water
Net electric energy
Net steam
Limits of the combustion plant
Water
Gross mechanical energy
Net mechanical energy
in
out
Air
Combustion unit
Gross steam
Gross flue-gas heat
Gross hot water
Gross electric energy
Fuel
Net hot water
Net electric energy
Net steam
Gross mechanical energy
Net mechanical energy
Combustion unit
Gross steam
Gross flue-gas heat
Gross hot water
Gross electric energy
Fuel
Net hot water
Net electric energy
Net steam
Gross mechanical energy
Net mechanical energy
Auxiliary systems
Net waste water heat
By-product heat
Net flue-gas heat
Process furnaces/
heaters
Fuel
Steam
Hot water
Flue gas heat
Other industrial activities
Batch/Raw material feed
Product material
in
Water
out
Limits of the combustion plant
Raw water treatment system
Limits of the combustion installation
Limits of the industrial installation